Description:

UT658 USB Tester is a 3C product of the Chargers, U Disk, mobile power charging equipment quality inspection of the new instrument.

Main 3C the output voltage of the charger output current, output power, output voltage stability for full inspection, more scientifically, instruct the user to use electronics, extend the life of electronic products.

Through this instrument, you can test different charging cable charging current, allowing you to select the optimal charging line, saving you the charging time.

Specification:

| Fuction | Range | Best Accuracy |
| --- | --- | --- |
| Model |  | UT658 |
| DC Voltage | 3.0V-9.0V | √ |
| DC Current | 0.0A-3.0A | √ |
| Capacity | 0-9999mAh | √ |
| Data Storage | 10 sets | √ |
| LCD Display | √ |  |
| Low Voltage Indectati | √ |  |
| Work Temperature | 0℃~50℃ |  |
| Drop Test | 1m |  |
| General Characteristics |  |  |
| Product Color | Weight |  |
| Product Net Weight | 28g |  |
| Product Size | 84 x 29 x 12mm |  |
| Package | Gift Box |  |